## codebook
field | category | description | type | non-missing | Labels | Min | Median | Max
case_id | id | unique uswtdb id | long | 65548 | n/a | 3000001 | 3047053 | 3105267
faa_ors | id | faa digital obstacle file (dof) for obstacle repository system (ors) | str9 | 59812 | n/a | n/a | n/a | n/a
faa_asn | id | faa obstruction evaluation - airport airspace analysis (oe-aaa) aeronautical study number (asn) | str17 | 59465 | n/a | n/a | n/a | n/a
usgs_pr_id | id | usgs id from prior turbine dataset | long | 39721 | n/a | 1 | 28291 | 49135
eia_id | id | eia plant id from eia form 860 | long | 58246 | n/a | 90 | 57342 | 65270
t_state | location | state where turbine is located | str2 | 65548 | n/a | n/a | n/a | n/a
t_county | location | county where turbine is located | str31 | 65548 | n/a | n/a | n/a | n/a
t_fips | location | state and county fips where turbine is located | str5 | 65548 | n/a | n/a | n/a | n/a
p_name | project characteristic | project name | str42 | 65548 | n/a | n/a | n/a | n/a
p_year | project characteristic | year project became operational | int | 64055 | n/a | 1981 | 2011 | 2020
p_tnum | project characteristic | number of turbines in project | int | 65548 | n/a | 1 | 86 | 731
p_cap | project characteristic | project capacity (MW) | double | 60580 | n/a | 0.05 | 150 | 495.01
t_manu | turbine characteristic | turbine original equipment manufacturer | str31 | 59569 | n/a | n/a | n/a | n/a
t_model | turbine characteristic | turbine model | str18 | 59245 | n/a | n/a | n/a | n/a
t_cap | turbine characteristic | turbine capacity (kW) | int | 59571 | n/a | 50 | 1800 | 6000
t_hh | turbine characteristic | turbine hub height (meters) | double | 58629 | n/a | 19 | 80 | 131
t_rd | turbine characteristic | turbine rotor diameter (meters) | double | 58911 | n/a | 11 | 90 | 154
t_rsa | turbine characteristic | turbine rotor swept area (meters^2) | double | 58911 | n/a | 95.03 | 6361.73 | 18626.5
t_ttlh | turbine characteristic | turbine total height - calculated (meters) | double | 58629 | n/a | 30.4 | 125.6 | 199.6
t_conf_atr | turbine characteristics qa/qc | turbine characteristic confidence (0-3) | byte | 65548 | see labels tab | 1 | 3 | 3
t_conf_loc | visual inspection qa/qc | location confidence (0 -3) | byte | 65548 | see labels tab | 1 | 3 | 3
t_img_date | visual inspection info | date of image used to visually verify turbine location | int | 53380 | n/a | n/a | n/a | n/a
t_img_srce | visual inspection info | source of image used to visually verify turbine location | str16 | 65548 | n/a | n/a | n/a | n/a
xlong | location | longitude (decimal degrees - NAD 83 datum) | double | 65548 | n/a | -171.7131 | -99.5567 | 144.7227
ylat | location | latitude (decimal degrees - NAD 83 datum) | double | 65548 | n/a | 13.3894 | 39.0069 | 66.8399

## labels
t_conf_loc
code | short description | long description
0 | Not visually verified | Not visually verified: Point has not been visually verified yet
1 | No confidence | No confidence: No turbine shown in image; image has clouds; imagery older than turbine built date
2 | Partial confidence | Partial confidence: image shows a developed pad with concrete base and/or turbine parts on the ground
3 | Full confidence | Full confidence: image shows an installed turbine or a tower being constructed; at least partially installed
t_conf_atr
code | short description | long description
0 | Not verified | Not verified: attributes have not been verified
1 | No confidence | No confidence: no facility data, no name, nothing in publications
2 | Partial confidence | Partial confidence: incomplete information or significant discrepancies across data sources
3 | Full confidence | Full confidence: consistent information across multiple data sources

## acronyms
Acronyms
ASN | Aeronautical Study Number
AWEA | American Wind Energy Association
DOF | Digital Obstacal File
FAA | Federal Avaiation Administration
LBNL | Lawrence Berkeley National Laboratory
OE/AAA | Obstacle Evaluation / Airport Airspace Analysis
ORS | Obstacle Repository System
USGS | United States Geological Survey
EIA | Energy Information Administration